King Saud University		516 PHC		       2nd semester

College of Pharmacy                     Mid Exam		            2014

Pharm. Chem. Dept.					          Dr. Haya

| Name: | No. |
| --- | --- |

Q. 1	Mark (√ ) for the correct statement, ( X ) for the false one and correct it:

# (	)Validation of Analytical Procedure Activity Including sampling ,sample preparation and analysis procedure only.

# (          ) Suitability of Documentation is not taken into account prior to  method validation.

# (          ) Low limit of active ingredients quantitation is the most important value required for Assay validation.

# (           ) Specificity Confirmed by obtaining positive results for samples with spiked related compounds and negative results for samples with analyte.

# (           ) For assay, if Degradants Not Available , Stressed and Unstressed Samples should be compared in specificity evaluation .

# (           ) Packaging Extractables are one of the most Potential Interference In specificity evaluation .

# (          ) Linearity is  Evaluated By only visual Inspection of plot of signals vs. analyte concentration

# (           ) Range is Normally derived from Linearity studies.

# (           ) The value of (% recovery) depend on the analyte concentration.

# (          ) LOD Lowest amount of analyte in a sample that can be detected but not necessarily quantitated, Estimated by Signal to Noise Ratio of 10:1

# (	) Oxygen flask method depends on complete combustion of inorganic compound in O2 that destroys the inorganic matter and releases the halogen.

# (          ) Peptization occurs when part of the precipitate reverts to the colloidal form.

Q. 2	Write short notes on the precipitation process in gravimetric analysis.

Q 3. ​Distinguish between the following:

- Accuracy and precision.

b) Repeatability and robustness.

Q 4. Calculate the grams of analyte (As2O3) per gram of precipitate (Ag3AsO4)?

Ag                          As                    O

Q 5.  What are the basic parts in oxygen flask and the role of each part?

Good Luck