## Slide 1: حسابات الكيمياء الحيوية Biochemical Calculations (BCH 312)
King Saud University
College of Science
Department of Biochemistry

## Slide 2
BCH 312
Biochemical Calculations
•Course Symbol & No. : BCH 312
•Credit Hours : 3 (2+2)
•Prerequisite : BCH 202
Midterm dates
1st Midterm: 00/00/2025
2nd Midterm: 00/00/2025

## Slide 3
Marks distribution
Midterm 1 : 15 marks (15%)
Midterm 2 : 15 marks (15%)
Homework and assignments: 5 marks (5%)
Lab : 25 marks (25%)
Final exam : 40 marks (40%)

## Slide 4
Reference
Biochemical calculations by Irwin H. Segel.
Online copy:
http://site.iugaza.edu.ps/bzabut/wp-content/uploads/biochemical%20calculation.pdf

## Slide 5
No | List of Topics | Contact Hours
1 | Glassware and tools, molarity, normality, w/v%, v/v%, w/w%, molality. | 6
2 | Stock and standard solutions, simple dilutions , and serial dilutions. | 4
3 | pH theory, pH–meter calibration, standard buffers. | 4
4 | Ionization of week acids and bases, Buffers | 4
5 | Spectrophotometry, spectrum, Beer-Lambert law, absorption spectrum, calibration curves, extinction coefficient, applications in enzymology and clinical chemistry. | 8
6 | Data presentation and statistical analysis of data (use of MS Excel ) | 4
Total |  | 30

## Slide 7: Glassware
Wide neck, amber, bottles; can be used for a wide range of light sensitive liquid or solid storage.
Narrow neck bottles; can be used for a wide range of liquid storage, media preparation and sampling applications.
Bottles
Reagent bottles

## Slide 8: Glassware continued
Media-lab bottles
Wash bottles

## Slide 9: Glassware continued
Conical shape beakers; ideally used for titrations and mixing application, these conical shape beakers are a cross between a standard beaker and conical flask.
Griffin beaker; is great for general laboratory use.
Beakers

## Slide 10: Glassware continued
Volumetric flasks; are precision measuring instruments.
Flasks
Boiling flasks
Distillation flasks
Cell culture flasks
Erlenmeyer
Conical flasks

## Slide 11: Glassware continued
Burette clamp
Burette
Cylinder
Mixing cylinder
Volumetric ware

## Slide 12: Volumetric ware
Burette clamp
Burette

## Slide 13: Glassware continued
Test tubes with ground socket joint.
Test tubes
Test tubes
Centrifuge Tubes
Culture Tubes

## Slide 14: Glassware continued
Pipettes
One mark pipette
Two mark pipette with safety bulb at top.
Graduated pipettes
Type 1 Type 2
Pasteur Pipettes

## Slide 15: Glassware continued
Funnels
Filter funnels
Dropping & Separating Funnels
Buchner Funnels

## Slide 16: Lab equipment
Petri dishes
Evaporating dishes
Vial Racks
Balance
Ring Stand
Test Tube Clamp
Test Tube Rack
pH meter

## Slide 17: Lab equipment continued
Plates
Micropipettes
Multichannel micropipettes
Tips
Eppendorf tubes

## Slide 18
General Properties of Aqueous Solutions

## Slide 19: Solvent, Solute and Solution
H2O (Solvent)
Nacl2 (Solute)
Solution
A solution is a homogenous mixture of 2 or more substances
The solute is the substance present in the smaller amount / the substance being dissolved.
The solvent is the substance present in the larger amount / is the liquid in which the solute is dissolved.

## Slide 20
A solute is dissolved in a solvent.
A substance that dissolves in a particular solvent is said to be soluble in that solvent.
An aqueous solution has water as solvent.

## Slide 21: Aqueous Solution
The majority of reactions occur in solutions.
There are several ways to express the concentration of a substance in a solution based on:
  The volume
  The weight
  Degree of saturation

## Slide 22: Concentration based on volume
Here the concentrations are based on the amount of dissolved solute per unit volume
The calculations depending on volume include:
  Molarity (M)
  Normality (N)
  Activity (a)
  Weight/Volume percent (w/v %)
  Volume/volume percent (v/v%)
  Milligram percent (mg %)
  Osmolarity (osm)

## Slide 23
Concentration of Solutions
Molarity (M), or molar concentration= the number of moles of solute (n) per liter of solution (L).
Molarity – Measurement of the concentration of a solution (how much solute is in a volume of solution)
No. of moles = Wtg /MWT (molecular weight)
No. of moles
Volume of solution in L
M =

## Slide 24
No. of moles = Wtg /MWT (molecular weight)
1 mole contains Avogadro’s number of molecules per liter (6.023 x 1023).
* So 1mole of Na+ means = 6.023x1023 numbers of Na+
* 1mole of H2O means = 6.023x1023 numbers of H2O
Molar concentrations are usually given in square brackets.
[X]= molarity of X
+
  Example: [H ] = molarity of hydrogen ion
  [NaOH] = molarity of Sodium Hydroxide
[Nacl2]= 2.5

## Slide 25
Be careful not to get molarity and moles mixed up.
Moles measures the amount of SOLUTE you have.
Molarity measures the concentration of the SOLUTION.
Other common rearrangements:
OR
V (L) = n (mole)
M
n (mole)= M x V

## Slide 26: Molarity cont’ed
Examples:
  A solution of NaCL2 had 0.8 moles of solute in 2 liters of solution. What is its molarity?
M =
M =
M = 0.4 molar
no. of moles
volume of solution in L
2
0.8

## Slide 27: Molarity cont’ed
Examples: How many grams of solid NaOH are required to prepared 500 ml of 0.04 M solution?
M =
500 ml = 500 ÷ 1000 = 0.5 L M=
no. of moles = 0.04 × 0.5
no. of moles = 0.02 mole
no. of moles =
no. of moles
volume of solution in L
weight in gram
molecular weight (MWT)
no. of moles
volume of solution in L

## Slide 28
MWT of NaOH
MWT = 23 + ( 16 + 1) = 40
Wt in grams = no. of moles × MWT
wt in grams = 0.02 × 40
wt in grams = 0.8 grams OR 0.8g
Element | Symbol | Atomic Mass
Sodium | Na | 22.989770
Hydrogen | H | 1.00794
Oxygen | O | 15.9994

## Slide 29: 2- Normality
Is the number of equivalents of solute per liter of solution
N =
no. of equivalents =
equivalent weight =
n = is the number of replaceable hydrogen (H+ in acids)or hydroxyl ions (OH- in bases) per molecule
no. of equivalents
volume of solution in L
weight in gram
Equivalent weight (EW)
MWT
n

## Slide 30
n = is the number of electrons gained or lost per molecule (in oxidizing or reducing agents)
                N =
                N =
                N =
no. of equivalents
volume of solution in L
weight in gram
Equivalent weight
volume of solution in L
weight in gram
volume of solution in L
MWT / n
Equivalent weight
no. of equivalents
/
/

## Slide 31: Normality cont’ed
N=
N =
M =
M =
N = n × M
For example: A 0.01 M solution of H2SO4 is 0.02 N
weight in gram × n
volume of solution in L
MWT
volume of solution in L
weight in gram
MWT
volume of solution in L
weight in gram
volume of solution in L
MWT / n
/
/
no. of moles
no. of moles = Wt g
MWT
/

## Slide 32: Normality cont’ed
Example: What is the normality of H2SO4 solution that contains 24.5 g of solute in a total volume of 100 ml?
N = n × M
n = 2
M = No. of moles / V(L)
100 ml = 100 ÷1000 = 0.1L
No. of moles = Wtg /MWT
MWT of H2SO4 = 2 + 32 + (16 × 4) = 98 g/mol

## Slide 33: Normality cont’ed
No. of moles = 24.5/ 98
No. of moles = 0.25 mole
M = No. of moles / V(L)
M = 0.25/0.1 = 2.5 molar
N = n × M
N = 2 × 2.5 = 5 normal

## Slide 34: Normality cont’ed
Another way to solve it:
Normality (N) = No. of equivalents / V(L)
No. of equivalents = Wtg of solute / equivalents weight (EW)
EW= MWT of solute / n
MWT of H2SO4 = 2 + 32 + (16 × 4) = 98 g/mol
EW= 98 / 2 = 49
No. of equivalents = Wtg of solute / equivalents weight (EW)
= 24.5 g / 49 = 0.5 eq
Normality (N) = No. of equivalents / V(L)
=0.5 / 0.1 = 5 Normal

## Slide 35
Your Turn……
Sea water contains roughly 28.0 g of NaCl per liter. What is the molarity of sodium chloride in sea water?
What is the molarity of 245.0 g of H2SO4 dissolved in 1.00 L of solution?
How many moles of Na2CO3 are there in 10.0 L of 2.0 M solution?
What weight (in grams) of H2SO4 would be needed to make 750.0 mL of 2.00 M solution?
What volume of 18.0 M H2SO4 is needed to contain 2.45 g H2SO4?

## Slide 36
6. Calculate the mass of NaOH needed to prepare 1.00 L of a 1.50 M solution?
7. 965 grams of NaOH is used in preparing a 1.5M solution. What volume of solution can be made?

## Slide 37
Do you have questions?