## Sheet1
External calibration curve (calibration curve method)
Ordinary Least Squares Regression
conc. (ppm) | Ā
0 | 0
1 | 63404
5 | 201008
10 | 304370
50 | 1127356
100 | 2104190
200 | 4085944
Unknown | 1547534
unknwn conc | 73.1461

## Sheet2
Standard Addition Method
tea 0.03g
added vol (mL) | added conc (ppm) | A
0 | 0 | 1750599
1 | 33.33 | 2283373
1.5 | 42.8 | 2531393
2 | 50 | 2679943
| 100 | 3505603
coffee 0.03g
added vol (mL) | added conc (ppm) | A
0 | 0 | 956990
1 | 33.33 | 1575221
1.5 | 42.8 | 1702422
2 | 50 | 1850561
| 100 | 2804510
cocoa 0.03g
added vol (mL) | added conc (ppm) | A
0 | 0 | 730437
1 | 33.33 | 1439585
1.5 | 42.8 | 1604471
2 | 50 | 1747117
| 100 | 2602658
mean of three injections
added conc. = 100ppm |  |  | The straight line is extrapolated on conc. Axis
0.03g of each sample - 30min sonication - filtration - take 2mL of each filtrate - add apropriate amount (0 ,1 ,1.5 ,2mL) of specific caffeine conc. (100ppm)
unspiked (0mL added)
| Ā | conc. (ppm)
tea 0.03g | 1750599 | 96.1277
coffee 0.03g | 956990 | 51.9622
cocoa 0.03g | 730437 | 39.3542

## Sheet3
Internal Standardization (Internal standard addition)
Myrcene
[6 empty] | X | Y
| C | A of Hex | A of Myr | C(ppm)Hex | C(ppm) Myr | C(ppm) Myr/C(ppm)Hex | A Myr/A Hex
| 1 | 71138579 | 71846018 | 1.5879 | 1.9244 | 1.2119 | 1.0099
| 2 |  |  |  |  | 0.8996 | 0.7554
| 3 | 83724448 | 37829773 | 1.8288 | 0.9622 | 0.52614 | 0.45184
| 4 |  |  |  |  | 0.3228 | 0.2713
| 5 | 95708263 | 13714621 | 2.4727 | 0.32073 | 0.12971 | 0.1433
| 6 | 118266220 | 3961204 | 2.2774 | 0.10691 | 0.046945 | 0.033494
| 7 | 127314878 | 2285041 | 7.7535 | 0.053456 | 0.0068943 | 0.017948
Limonene
[6 empty] | X | Y
| C | A of H | A of Lim | C(ppm)Hex | C(ppm) Lim | C(ppm)Lim/C(ppm)Hex | A Lim/A Hex
| 1 | 71138579 | 89588595 | 1.5879 | 2.0402 | 1.2849 | 1.2594
| 2 |  |  |  |  | 0.9255 | 0.9189
| 3 | 83724448 | 48613317 | 1.8288 | 1.0201 | 0.5578 | 0.58063
| 4 |  |  |  |  | 0.35346 | 0.35075
| 5 | 95708263 | 16735596 | 2.4727 | 0.34003 | 0.13751 | 0.17486
| 6 | 118266220 | 8015071 | 2.2774 | 0.11334 | 0.04977 | 0.067771
| 7 | 127314878 | 4175032 | 7.7535 | 0.056672 | 0.0073092 | 0.032793

## Sheet4
Limit of Linearity (LOL)
Linear Regression Analysis (R2)
conc. (ppm) | Ā
0 | 0
1 | 63404
5 | 201008
10 | 304370
50 | 1127356
100 | 2104190
200 | 4085944
250 | 4717944
300 | 5168741

## Sheet5
Limit of Detection (LOD) and Limit of Quantitation (LOQ)
conc. (ppm) | Ā | Formula: |  | Signal-to-noise ratios of (3:1) for LOD and (10:1) for LOQ
0 | 0 | 𝐿𝑂𝐷 = 3.3 × (𝜎 / 𝑆)
1 | 63404 |  |  | σ sigma (Standard Deviation): Use the standard deviation of the y-intercepts or the residual standard deviation (residual SD) of the regression line.
5 | 201008 | 𝐿𝑂𝑄 = 10 × (𝜎 / 𝑆) |  | 𝑆 (Slope): Calculate the slope of the calibration curve.
10 | 304370
50 | 1127356
100 | 2104190
200 | 4085944
|  | LOD | 3.563 |  |  | Coefficients | Standard Error
[5 empty] | Intercept | 71591.1886 | 21785.9965
|  | LOQ | 10.7969 |  | X Variable 1 | 20177.9609 | 251.2617

## Sheet6
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.99961
R Square | 0.99923
Adjusted R Square | 0.99907
Standard Error | 45981.1827
Observations | 7
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 1.3635e+13 | 1.3635e+13 | 6449.1431 | 5.6732e-09
Residual | 5 | 10571345795.5917 | 2114269159.1183
Total | 6 | 1.3646e+13
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 71591.1886 | 21785.9965 | 3.2861 | 0.021807 | 15588.5017 | 127593.8754 | 15588.5017 | 127593.8754
X Variable 1 | 20177.9609 | 251.2617 | 80.3066 | 5.6732e-09 | 19532.0721 | 20823.8496 | 19532.0721 | 20823.8496