Experiment Number 1

Separation of Serum and Plasma from Whole Blood and Their Proteins

Separation of Blood Components

  - You have a purple cap tube which contains………………

  - Measure the volume of the whole blood………..ml

Describe the layers that you got

Centrifuge at 3000 rpm

for 10 minutes

- Withdraw the liquid layer by pasture pipette into centrifuge tube, record the volume …….…ml

- The liquid phase is called ………………

| Components | Total volume | Percentage |
| --- | --- | --- |
| Whole blood |  |  |
| Liquid phase |  |  |
| Blood Cells |  |  |

- How we can Separate Serum from the liquid phase that you got?

……………………………………………………………………………………………………………………………………………………………………………………………………………………………

Separation of Serum from Whole Blood

- You have a red cap tube which contains………………

- Measure the volume of the whole blood………..ml

Centrifuge at 3000 rpm

for 10 minutes

Describe the layers that you got

- Withdraw the liquid layer by pasture pipette into centrifuge tube, record the volume ………ml.

- The liquid phase is called ………………

Plasma:

Separation of Main Proteins in Plasma

This Separation by ……………….Method

Aim to :…………………………………………………………..

(Supernatant):

Serum:

4ml serum + 4 ml saturated ammonium sulphate solution

Aim to :…………………………

Centrifuge al 3500 rpm /10 min

Transfer the supernatant in to other test tube (Do not throw it!!) Dissolve the precipitate in 2ml 0.9% saline

Globulin Precipitate

Heat Coagulation Test  (Tube B)

Aim to:…………..

Biuret test (Tube A)

Ain to:………………

1 ml Globulin + 1ml Biuret Reagent

Mix well, allow to stand in water bath at 37 °C/10 min

purple color (confirms the presence of protein “mainly globulin”)

1 ml Globulin + drops of 2M acetic acid

Heat the content of the tube at 70 °C/10 min

Cloudiness (confirms the presence of

protein “mainly globulin”)

To supernatant (Mainly Albumin)

Divide the filtrate into 2 tubes

Salting out (Tube A)

Aim to:………………….

Heat Coagulation Test (Tube B)

Aim to:……………

Add drops of 2M acetic acid

Heat the content of the tube at 70 °C/10 min

Cloudiness (confirms the presence of protein “albumin”)

Add solid ammonium sulphate until albumin is precipitated

(Confirms the presence of protein “albumin”)