Experiment number 5

Hemoglobin and Anemia

Method:

- Hemoglobin Estimation:

| Blank tube | Test tube |  |
| --- | --- | --- |
| 2 ml | 2 ml | Hemoglobin reagent |
| _____ | 0.01 ml (10µl) | Blood sample |
| Mix, allow to stand at room temperature for 3 min and read the absorbance at 540 nm against hemoglobin reagent. |  |  |

Calculate Hb conc. (g/dl) = 29.4 x Abs of test tube.

Normal haemoglobin Hb conc.: for men: 14 - 18 g/dl,  for women : 12 - 16 g\dl

- Qualitative determination of hemoglobin S (HbS) in blood

| Reagent | Volume |
| --- | --- |
| Sickling solution | 2 ml |
| Patient sample (whole blood) | 0.02 ml (20 μl) |
| Mix by inversion and allow stand at room temperature for 5 to 10 min |  |
| Read the test by holding the test tube approximately 3 cm in front of a lined scale on the card. |  |