

	TOTAL BILIRUBIN
	DIRECT BILIRUBIN
	

	Test
	Test Blank
	Test
	Test Blank
	

	0.5 ml
	0.5 ml
	1.0 ml
	1.0 ml
	Sulfanilic Acid

	0.02 ml
	NONE
	0.02 ml
	NONE
	Sodium Nitrite

	MIX and let stand for at least 1 min but no longer than 3 mm.

	0.05 ml
	0.05 ml
	0.05 ml
	0.05 ml
	Sample

	after exactly 1 min. read the absorbance of Test and Test Blank (of Direct bilirubin only) at 546 nm against distilled water.

	

	For total bilirubin add:

	0.5 ml
	0.5 ml
	none
	None
	Methanol

	MIX and let stand for 5 at room temperature

	read the absorbance of test and test Blank (of Total Bilirubin) at 546 nm a against distilled water


Experiment number 7
Estimation of Serum Bilirubin (Total & Direct)

    Method:
     Label 4 test tubes as following table












	    Calculations:
 DIRECT BILIRUBIN:
(Abs. Test - Abs. Test Blank) x 25= direct bilirubin mg/dlNormal Ranges:
Direct   Up to:  0. 5 mg/dl
Total     Up to 1 mg/dl
Indirect   0.1-0.4 mg/dl

…………………………………………………………………………………………………….
TOTAL BILIRUBIN:
(Abs. Test - Abs. Test Blank) x 25= total bilirubin mg/dl
…………………………………………………………………………………………………….
INDIRECT BILIRUBIN 
…………………………………………………………………………………………………….

