Internal Standard method
(experiment lab-4)

---
Definition of internal standard:
Is a chemical substance that is added in a constant amount to samples and calibration standards in a chemical analysis.

---
What is the condition of internal standard ?
Internal standard should be very similar, but not identical to the chemical species of interest in the samples.
The internal standard used needs to provide a signal at (tr) that is similar to the analyte signal (tr) in most ways but sufficiently different so that the two signals are readily distinguishable by the instrument.
Internal standard should be stable.
Internal standard must be inert.
It should have the same sample condition.

---
Why do we use internal standard?
Internal standards are especially useful for analyses in which the quantity of sample analysed or the instrument response varies slightly from run to run for reasons that are difficult to control.
So it is used to increase the accuracy and precision of analytical methods that have large inherent variability.
Ideally, any factor that affects the analyte signal will also affect the signal of the internal standard to the same degree.
Thus, the ratio of the two signals will exhibit less variability than the analyte signal.

---
Detector Response Ratio:
In a chromatogram the area under each peak is proportional to the concentration of the species injected into the column.
The detector generally has a different response to each component.
For example, if both the analyte (X) and internal standard (S) have concentrations of 10.0 mM, the area under the analyte peak X might be 2.30 times greater than the area under the standard peak S. We say that the detector response ratio or response factor, F, is 2.30 times greater for X than for S.

---
Internal standard substance can then be used for calibration by plotting the ratio of the analyte signal to the internal standard signal as a function of the analyte concentration of the standards.