Lab sheet #2

-Detection and Estimation of Some Abnormal Constituents in Urine-

-Objectives:

- The semi-quantitative detection of some abnormal normal constituents using test-strips.

- The detection of amino acids in a urine sample using ninhydrin.

- The effect of the type of urine collection in the detection of urine constituents.

-Method:

- Detection of some abnormal constituents of urine using test strip:

- In front of you a urine sample, sample 1

- You have to fill the table in the results by using the test strips.

- Write the clinical diagnosis for the sample.

- Detection of amino acid in urine sample using ninhydrin:

- As standard, use proline and glycine solutions by prepare two clean test tubes, in the first one add 1ml of glycine and in the second one add 1ml of proline solution.

- In a third tube, add 1ml of urine sample A.

- Add a 1 ml of ninhydrin solution to each test tube [CARFULLY].

- Boil the contents of each test tube for 2 minutes.

- Record your observations.

- The effect of the type of urine collection on the detection of urine constituents:

- You have two samples, one is random urine sample, and the other is 24-hour urine sample from the same patient.

- Compare between the two samples for the protein presence using the test strip (positive or negative).

-Results:

- Detection of some abnormal constituent of urine using test strip:

| Test | Urine Sample 1 |
| --- | --- |
| Volume | 3000 ml |
| Color |  |
| Odor |  |
| pH |  |
| Specific gravity |  |
| Protein |  |
| Blood |  |
| Bilirubin |  |
| Uroblinogen |  |
| Glucose |  |
| Ketone |  |
| Nitrite |  |
| Leukocyte |  |
| Clinical Diagnosis of sample 1 |  |

- Detection of amino acid using ninhydrin:

| Solution | Observation |
| --- | --- |
| Glycine |  |
| Proline |  |
| Urine sample A |  |

- The effect of the type of the urine collection on the detection of urine constituents:

| Test parameter | 24 hour urine sample | Random urine sample |
| --- | --- | --- |
| Protein (positive or negative) |  |  |