Lab sheet #3

-Quantitative Protein Estimation of Urine-

-Objectives:

- Quantitative estimation of protein in urine by turbidimetric methods using sulfosalicylic acid.

-Method:

- Set up a series of test tubes as follows, label from 1- 6:

| Tube | Protein solution (140 mg/dl) (ml) | 0.85% Saline (ml) |
| --- | --- | --- |
| 1 | 4.5 | 1.5 |
| 2 | 3 | 3 |
| 3 | 2.4 | 3.6 |
| 4 | 1.5 | 4.5 |
| 5 | 0.9 | 5.1 |
| 6 | 0.3 | 5.7 |

- Label a new set of test tubes 1 to 6, blank, urine sample :

- Add 8 ml of sulphosalisalic acid to each test tube.

- Into tube 1 pipette 2 ml of protein solution 1(that you prepared before).

- Into tube 2 pipette 2 ml of protein solution 2 … etc

- In the blank add 2 ml of 0.85% Saline.

- To urine sample add 2 ml of unknown sample.

- Mix the content of each tube well and allow to stand for five minutes.

- Use blank to set transmittance 100% at 500nm.

- Then use solutions from 1-6, to recorded respective transmittance of each suspension.

- Record your results.

-Results:

| Tube | Transmittance at 500nm | Protein concentration (mg/dl) |
| --- | --- | --- |
| Blank |  |  |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| Urine sample |  |  |

- Plot transmittance against protein concentration (mg/dl).

- Read the protein concentration of urine sample from the standard curve.

- Compare the result you got with the normal range of protein excretion in 24 h urine specimen if you know that the protein excretion in healthy sample (0- less than 0.150g/24 h).

Note: Assuming that the 24 hour urine sample for the patient = 1000 ml.