Lab sheet #7

-Estimation of Uric Acid in serum -

-Objectives:

- To estimate the amount of uric acid in serum.

-Method:

1-Pipette to 3 clean test tubes:

|  | Blank | Standard | Test |
| --- | --- | --- | --- |
| Buffer | 1000 µl | 1000µl | 1000µl |
| Standard | ـــــ | 20 µl | ـــــ |
| Sample | ـــــ | ـــــ | 20 µl |

2- Water bath at 37ºC for 5 min.

3-Read absorbance at 520nm.

-Results:

|  | Absorbance at 520 nm |
| --- | --- |
| Standard |  |
| Sample |  |

-Calculations:

Serum Uric acid concentration (mg/dl) = Absorbance of sampleAbsorbance  of standard x concentration of standard (8 mg/dl)

Serum Uric acid concentration=  ________________________

*Normal Range:  Men (3.4 - 7 mg/dl). Women (2.4 – 5.7 mg/dl)