Lab sheet #3

Determination of LDH Enzyme in Serum

Method:

1-in one cuvette add water as blank.

2-Pipette into cuvettes:

| Tube | Volume |
| --- | --- |
| Serum Sample | 20 µl |
| Buffer [BUF] *Containing (TRIS buffer, Pyruvate) | 1000 µl |
| Mix and incubate at 30 oC for 3 minutes |  |
| Substrate *Containing (NADH) | 250 µl |
| Mix and incubate at 30 oC for 1 minute, then read the absorbance at 340 nm against distilled water (blank) every minute for 2 minutes. Then determine ΔA/min. |  |

Choose the following on the spectrophotometer:

2) Applications  2) Simple Kinetics  wave length (340 nm)  1) Seconds Duration

(120 sec) Intervals (60 sec)Print Data Table (off)Press start (2 times)

Results

| Time (min) | Absorbance at 340 nm |  |
| --- | --- | --- |
| 0 | A1 |  |
| 1 | A2 |  |
| 2 | A3 |  |

* The decrease in the absorbance is proportional to increase LDH activity.

Calculation

- ΔA/min=((A1-A2)+(A2-A3))/2

- LDH Activity ( U/L) = ΔA/min x 10080

- LDH Activity = .................U/L

Normal Values: Adults: 160 – 320 (U/L)

*Note: The procedure follows the manufacturer's instructions of LDH SCE mod. liquiUV kit (Human, DE)