## Slide 1: Performance of Centrifugal Pumps
Fluid Machines:
  Positive displacement
    Energy transfer occurs as a result of the movement of the volume boundaries in which the fluid is enclosed in.
  Dynamic
    These are devices that use vanes or blades to direct the fluid. The fluid is not confined to a volume
Positive Displacement Gear pump
Dynamic

## Slide 2: Performance of Centrifugal Pumps
Fluid Machines:
  Fluid machines can also be categorized according to the geometry of the fluid path into,
    Radial (centrifugal)
      Flow direction is mainly in the radial direction
    Axial
      Flow direction is mainly in the axial direction

## Slide 3: Performance of Centrifugal Pumps
Fluid Machines: Turboprop Engine
Axial Compressor
Centrifugal Compressor
Axial Turbine

## Slide 4: Performance of Centrifugal Pumps
Fluid Machines:
  Theoretical principle: Angular Momentum Concept
    The angular momentum is defined as the moment of momentum
  The conservation of angular momentum applied to a CV
  This is a general equation applied to any fluid machine. A much simpler equation can be obtained using few simplifying assumptions.

## Slide 5: Performance of Centrifugal Pumps
Fluid Machines:
  Theoretical principle: Angular Momentum Concept
  Assumptions;
    Steady flow
    Torque due to body forces and viscous forces are negligible
    Torque due to pressure changes is neglected
    We get
    If we apply this equation to a CV enclosing the fluid machine and further assuming that the flow enters the machine at radius and exits at .

## Slide 6: Performance of Centrifugal Pumps
Fluid Machines:
  Flow is uniform at inlet and exit.
  Axe of rotation is in the z-direction.
  Applying the above assumptions we get,
  Hence, in scalar form
  This is called the , the Euler Turbomachine Equation
  And the rate of work done is given by,
  OR

## Slide 7: Performance of Centrifugal Pumps
Fluid Machines:
  If we divide by we get,
  This is defined as the theoretical pump head (rate of work done per rate of weight flow rate).
  For a centrifugal pump assuming the inlet flow is axial, , then
  How to evaluate ?

## Slide 8: Performance of Centrifugal Pumps
Fluid Machines:
  How to evaluate ?

## Slide 9: Performance of Centrifugal Pumps
Fluid Machines:
  How to evaluate ?
  For an impeller of width w, the volume flow rate is,
  Hence, we can write the theoretical head as,
  Then we can write in general,
  Where and are functions of the machine geometry and speed.

## Slide 10: Performance of Centrifugal Pumps
Fluid Machines:

## Slide 11: Performance of Centrifugal Pumps
Fluid Machines:
  How to compute real pump performance ?
    Use the energy equation
  Where the subscript d and s denote the discharge and suction sides, respectively.
  In the current experiment, the total pressure head, , is calculated by measuring

## Slide 12: Performance of Centrifugal Pumps
Fluid Machines:
  Similarity Rules
    For two different pumps to be dynamically similar, assuming geometric similarity, we must have the flow coefficient satisfy the equality,
    The dimensionless head and power coefficients are functions of the flow coefficient, such that
    . Hence for similar flow coefficient we have,
    And