**313 PHL**

*Procedures:*

1. Tie the two ends of tissue with thread
2. Hang the tissue in the organ bath
3. One end should be attached to the transducer while the other end is attached to aerator
4. Adjust the tone of thread “Not too loose Not too tight”
5. Switch the physiograph on
6. Make interface on
7. Adjust the pen (Avoid the upper and lower limits)
8. Record normal contraction for 4 squares and immediately add the first drug
9. Record two squares after the drug addition then stop the wheal
10. Wash the tissue three times or till the pen return to normal
11. Record normal contraction for 4 squares then immediately add the second drug
12. Record two squares after the drug addition then stop the wheal and so on