Lab (7) Quantitative Determination of Serum Iron, (UIBC), and (TIBC)

- Determination of total iron-binding capacity (TIBC)

Method:

| Reagent | Reaction tube |
| --- | --- |
| FE (R1) | 1.0 ml |
| Sample | 0.5 ml |
| Mix well, leave for 3-5 minutes |  |
| Aluminum oxide [ALOX] (R2) | 1 heaped measuring spoon |
| Cap and mix for 10 minutes on a rotator or roller mixer. Then allow tubes to stand for 3 minutes upright or centrifuge for 1 minutes at 5,000 rpm. Remove the cap prior to centrifugation. |  |

Use the clear supernatant as ‘sample’ for the respective iron determination

- Iron liquicolor CAB Method with Lipid Clearing Factor (LCF)

Method:

|  | Blank | Sample / [STD] |
| --- | --- | --- |
| Sample / [STD] | -- | 50µl |
| Distilled water | 50µl | -- |
| Reagent (R1) | 1000µl | 1000µl |
| Mix well, incubate for 15 minutes at 20...25°C. Measure the absorbance at 623nm of the sample (A sample) and the standard (A [STD]) against the reagent blank within 60 minutes |  |  |

Calculations:

- Calculation of the Iron Concentration with Factor

830 x A sample = Iron [μg/dl]

- Calculation of the Iron Concentration with Standard

C = [STD] x A sampleA [STD]  = Iron [μg/dl]  , [std]=101μg/dl

- TIBC concentration

TIBC = Conc. Iron x 3

- UIBC concentration

UIBC = TIBC - Conc. Iron