## Sheet1
Absolute error = x - µ
%Relative error = ( (x - µ)/µ ) *100%
Excel Calculation …
x | µ | Ab. er. | Re. er. | %Re. er.
18.53 | 18.32 | 0.21 | 0.011463 | 1.1463
Cells Declaration
cell B32 | represent the determined value
cell C32 | represent the true value
cell D32 | represent the absolute error
cell E32 | represent the relative error
cell F32 | represent the percente relative error
Statistical Calculations in Analytical Chemistry
Accuracy
Example: Calculate the absolute and the %relative error knowing
that (x =18.53ppm) and (µ = 18.32ppm) ?

## Sheet2
Absolute average deviation (a. d.) = ∑ (xi - ) / N
%Relative average deviation = (a. d. / ) * 100%
Standard deviation (s) = ( Σ(xi - )2 / (N-1) )1/2
Standard deviation of the mean (s, mean) = s / (N)1/2
%Relative standard error (%RSD) = (s / ) * 100%
%Relative standard deviation of the mean (%RSD, mean) = (s,mean / ) *100%
Excel Calculation …
| x |  | x -  | Σ (x - ) | a.d. | %r.a.d.
| 11.34 | 11.2367 | 0.10333 | 0.45333 | 0.15111 | 1.3448
| 11.36 |  | 0.12333
| 11.01 |  | 0.22667
Excel Calculation …
xi |  | xi -  | (xi - )2 | Σ (xi - )2 | Σ(xi-)2/N-1 | S | S, mean | %RSD | %RSD mean
104.2 | 104.1 | 0.1 | 0.01 | 1.54 | 0.51333 | 0.71647 | 0.35824 | 0.68825 | 0.34413
104.8 |  | 0.7 | 0.49
103.1 |  | -1 | 1
104.3 |  | 0.2 | 0.04
Cells Declaration
| cell B49 | represent the value of x1
| cell B50 | represent the value of x2
| cell B51 | represent the value of x3
| cell C49 | represent the average of x values
| cell D49 | represent the value of x1 - average
| cell D50 | represent the value of x2 - average
| cell D51 | represent the value of x3 - average
| cell E49 | represent the summation of x values - average
| cell F49 | represent the absolute average deviation
| cell G49 | represent the percent relative average deviation
| cell A64 | represent the value of x1
| cell A65 | represent the value of x2
| cell A66 | represent the value of x3
| cell A67 | represent the value of x4
| cell B64 | represent the average of x values
| cell C64 | represent the value of x1 - average
| cell C65 | represent the value of x2 - average
| cell C66 | represent the value of x3 - average
| cell C67 | represent the value of x4 - average
| cell D64 | represent the value of (x1 - average)2
| cell D65 | represent the value of (x2 - average)2
| cell D66 | represent the value of (x3 - average)2
| cell D67 | represent the value of (x4 - average)2
| cell E64 | represent the summation of (x values average)2
| cell F64 | represent the summation of (x values average)2 / N - 1
| cell G64 | represent the standard deviation
| cell H64 | represent the standard deviation of mean
| cell I64 | represent the percent relative standard deviation
| cell J64 | represent the percent relative standard deviation of mean
Statistical Calculations in Analytical Chemistry
Precision
Example (1): Calculate the absolute average deviation and
the %relative average deviation for the following
measurements:
(11.34, 11.36, 11.01), N = 3 ?
Example(2): Determine (S, S mean, %RSD, and %RSD mean)
for the following measurements:
(104.2, 104.8, 103.1, 104.3), N = 4 ?

## Sheet3
Sa = (Sb2 + Sc2 + Sd2)1/2
(Sa)rel. = (Sa / ) * 100%
Excel Calculation …
x | s |  | s2 | Σs2 | Sa | (Sa)rel
12.756 | 0.004 | 12.5103 | 1.6e-05 | 3.4e-05 | 0.005831 | 0.046609
12.315 | 0.003 |  | 9e-06
12.46 | 0.003 |  | 9e-06
(Sa)rel. = (Sb2)rel. + (Sc2)rel. + (Sd2)rel.
Excel Calculation …
x | s | s / x | (s/x)2 | Σ(s/x)2 | (Sa)rel | Sa
24.33 | 0.02 | 0.00082203 | 6.7573e-07 | 6.8896e-06 | 0.0026248 | 2.1187
113.2 | 0.2 | 0.0017668 | 3.1215e-06
3.412 | 0.006 | 0.0017585 | 3.0923e-06
(Sa)rel. = c(Sb2)rel.
Excel Calculation …
x | s | s / x | (Sa)rel | Sa
6.8 | 0.3 | 0.044118 | 0.088235 | 4.0765
Sa = 0.434 (Sb)rel.
Excel Calculation …
conc. | pH | (Sa)rel | Sa
0.00024 | 3.6198 | 0.083333 | 0.036167
Cells Declaration
cell B35 | represent the value of x1
cell B36 | represent the value of x2
cell B37 | represent the value of x3
cell C35 | represent the value of x1 uncertainty
cell C36 | represent the value of x2 uncertainty
cell C37 | represent the value of x3 uncertainty
cell D35 | represent the average of x values
cell E35 | represent the value of (x1 uncertainty)2
cell E36 | represent the value of (x2 uncertainty)2
cell E37 | represent the value of (x3 uncertainty)2
cell F35 | represent the summation of (uncertainty values)2
cell G35 | represent the absolute uncertanity
cell H35 | represent the relative uncertanity
cell B57 | represent the value of x1
cell B58 | represent the value of x2
cell B59 | represent the value of x3
cell C57 | represent the value of x1 uncertainty
cell C58 | represent the value of x2 uncertainty
cell C59 | represent the value of x3 uncertainty
cell D57 | represent the value of s1 / x1
cell D58 | represent the value of s2 / x2
cell D59 | represent the value of s3 / x3
cell E57 | represent the value of (s1 / x1)2
cell E58 | represent the value of (s2 / x2)2
cell E59 | represent the value of (s3 / x3)2
cell F57 | represent the summation of (s / x)2
cell G57 | represent the relative uncertanity
cell H57 | represent the absolute uncertanity
cell B79 | represent the x value
cell C79 | represent the uncertainty of x value
cell D79 | represent the (s / x) value
cell E79 | represent the relative uncertanity
cell F79 | represent the absolute uncertanity
cell B101 | represent the conc. of an acid
cell C101 | represent the pH value of an acid
cell D101 | represent the relative uncertanity
cell E101 | represent the absolute uncertanity
Statistical Calculations in Analytical Chemistry
Propagation of Errors
Addition & Subtraction
Example: Determine Sa and (Sa)rel for the following results:
12.756±0.004, 12.315±0.003 and 12.460±0.003 ?
Multiplication & Division
Example: Determine Sa and (Sa)rel for the following process:
(24.33±0.02) (113.2±0.2) / (3.412±0.006) = 807.20±( ) ?
Exponents
Example: Determine Sa and (Sa)rel for the following process:
(6.8 ± 0.3)2 = 46.2 ± ( ) ?
Logarithms
Example: Find pH for acid has the following concentration:
(2.4 ± 0.20) * 10-4 M ? ( pH = -Log [H+] ) .

## Sheet4
Confidence Limit (C.L.) =  ± ts / (N)1/2
Excel Calculation …
x% | N-1 |  | s | t from table | ts/N1/2 | ±ts/N1/2
83.5 | 2 | 83.5033 | 0.075 | 4.303 | 0.18633 | 83.5±0.19
83.58
83.43
Cells Declaration
cell B28 | represent the value of x1
cell B29 | represent the value of x2
cell B30 | represent the value of x3
cell C28 | represent the degree of freedom
cell D28 | represent the average value
cell E28 | represent the standared deviation
cell F28 | represent the t value from table
cell G28 | represent the ts / N1/2
cell H28 | represent the confidence limit
Statistical Calculations in Analytical Chemistry
Confidence Limit
Example: What is the C. L. of the following results :
(83.50%, 83.58%, 83.43%) knowing that
s = 0.075 and the confidence = 95% ?

## Sheet5
y = mx + b
s = ∑ (yi - y1)2 = ∑ (yi - (mxi + b))2
b =  - m
m = [ ∑(xiyi) - {(∑xi ∑yi)/n} ] / [ ∑xi2 - {(∑xi)2/n} ]
Excel Calculation …
xi | yi | Σxi |  | xi2 | Σxi2 | xi yi | Σ xi yi | m | b
0 | 0 | 3 | 0.6 | 0 | 3.4 | 0 | 46.54 | 13.4125 | 0.3125
0.2 | 2.9 |  |  | 0.04 |  | 0.58
0.4 | 6.1 | Σyi |  | 0.16 | (Σxi)2 | 2.44 | so the straight line equation:
0.8 | 11.2 | 41.8 | 8.36 | 0.64 | 9 | 8.96 | y = mx + b
1.6 | 21.6 |  |  | 2.56 |  | 34.56 | y = 13.4125 x + 0.3125
Cells Declaration
| cell A47 | represent the value of x1
| cell A48 | represent the value of x2
| cell A49 | represent the value of x3
| cell A50 | represent the value of x4
| cell A51 | represent the value of x5
| cell B47 | represent the value of y1
| cell B48 | represent the value of y2
| cell B49 | represent the value of y3
| cell B50 | represent the value of y4
| cell B51 | represent the value of y5
| cell C37 | represent the summation of x values
| cell C50 | represent the summation of y values
| cell D37 | represent the average of x values
| cell D50 | represent the average of y values
| cell E47 | represent the value of x12
| cell E48 | represent the value of x22
| cell E49 | represent the value of x32
| cell E50 | represent the value of x42
| cell E51 | represent the value of x52
| cell F37 | represent the summation of x2
| cell F50 | represent the (summation of x)2
| cell G47 | represent the x1 * y1
| cell G48 | represent the x2 * y2
| cell G49 | represent the x3 * y3
| cell G50 | represent the x4 * y4
| cell G51 | represent the x5 * y5
| cell H47 | represent the summation of x*y
| cell I47 | represent the slope value
| cell J47 | represent the intercept value
Statistical Calculations in Analytical Chemistry
Linear Least Squares
Example: Find the straight line equation for the following measurements:
Absorbance Concentration
0.0 0.0
0.2 2.9
0.4 6.1
0.8 11.2
1.6 21.6

## Sheet6
r = [ n∑xiyi - ∑xi∑yi ] / [ (n∑xi2 - (∑xi)2) (n∑yi2 - (∑yi)2) ]1/2
Excel Calculation …
xi | yi | xi2 | yi2 | xi yi | Σxi | Σxi2 | Σxi yi | (Σxi)2 | r
0 | 0 | 0 | 0 | 0 | 20 | 120 | 4.934 | 400 | 0.99586
2 | 0.086 | 4 | 0.007396 | 0.172
4 | 0.153 | 16 | 0.023409 | 0.612 | Σyi | Σyi2 |  | (Σyi)2
6 | 0.265 | 36 | 0.070225 | 1.59 | 0.824 | 0.20343 |  | 0.67898
8 | 0.32 | 64 | 0.1024 | 2.56
Cells Declaration
| cell A36 | represent the value of x1
| cell A37 | represent the value of x2
| cell A38 | represent the value of x3
| cell A39 | represent the value of x4
| cell A40 | represent the value of x5
| cell B36 | represent the value of y1
| cell B37 | represent the value of y2
| cell B38 | represent the value of y3
| cell B39 | represent the value of y4
| cell B40 | represent the value of y5
| cell C36 | represent the value of x12
| cell C37 | represent the value of x22
| cell C38 | represent the value of x32
| cell C39 | represent the value of x42
| cell C40 | represent the value of x52
| cell D36 | represent the value of y12
| cell D37 | represent the value of y22
| cell D38 | represent the value of y32
| cell D39 | represent the value of y42
| cell D40 | represent the value of y52
| cell E36 | represent the x1 * y1
| cell E37 | represent the x2 * y2
| cell E38 | represent the x3 * y3
| cell E39 | represent the x4 * y4
| cell E40 | represent the x5 * y5
| cell F36 | represent the summation of x values
| cell F39 | represent the summation of y values
| cell G36 | represent the summation of x2 values
| cell G39 | represent the summation of y2 values
| cell H36 | represent the summation of x*y values
| cell I36 | represent the (summation of x values)2
| cell I39 | represent the (summation of x values)2
| cell J36 | represent the correlation coefficient
Statistical Calculations in Analytical Chemistry
Correlation Coefficient
Example: Find the correlation coefficient for the following measurements:
Absorbance Concentration
0.0 0.000
2.0 0.086
4.0 0.153
6.0 0.265
8.0 0.320

## Sheet7
F-test = s12 / s22
Excel Calculation …
x1 | 1 | x1 - 1 | (x1 - 1)2 | Σ(x1 - 1)2 | Σ(x1 - 1)2 / N-1 | s1 | s12
10.9 | 10.4167 | 0.48333 | 0.23361 | 1.6683 | 0.33367 | 0.57764 | 0.33367
10.1 |  | -0.31667 | 0.10028
10.6 |  | 0.18333 | 0.033611
11.2 |  | 0.78333 | 0.61361
9.7 |  | -0.71667 | 0.51361
10 |  | -0.41667 | 0.17361 |  |  |  |  | F-test (s12 / s22)
2.4219
x2 | 2 | x2 - 2 | (x2 - 2)2 | Σ(x2 - 2)2 | Σ(x2 - 2)2 / N-1 | s2 | s22
9.2 | 10.2143 | -1.0143 | 1.0288 | 4.8486 | 0.8081 | 0.89894 | 0.8081
10.5 |  | 0.28571 | 0.081633
9.7 |  | -0.51429 | 0.26449
11.5 |  | 1.2857 | 1.6531
9.3 |  | -0.91429 | 0.83592
10.1 |  | -0.11429 | 0.013061
11.2 |  | 0.98571 | 0.97163
±t = ( - µ) (N)1/2 / s
Excel Calculation …
x |  | (x - )2 | Σ(x - )2 | s |  - µ | N1/2 / s | t
0.1034 | 0.10335 | 2.5e-09 | 3.5e-07 | 0.00034157 | 0.00095 | 5855.4004 | 5.5626
0.1038 |  | 2.025e-07
0.1032 |  | 2.25e-08
0.103 |  | 1.225e-07
±t = (1 - 2 / Sp) * ( N1N2 / (N1+N2) )1/2
Sp = ( ∑(xi1 -1)2 + ∑(xi2 - 2)2 + + ∑(xiK - K)2 / (N - K) )1/2
Excel Calculation …
x1 | 1 | x1 - 1 | (x1 - 1)2 | Σ(x1 - 1)2
0.826 | 0.84525 | -0.01925 | 0.00037056 | 0.0032107
0.81 |  | -0.03525 | 0.0012426
0.88 |  | 0.03475 | 0.0012076 |  | Sp | (N1N2/(N1+N2))1/2 |  | t
0.865 |  | 0.01975 | 0.00039006 |  | 0.02688 | 1.3093 |  | 8.7311
x2 | 2 | x2 - 2 | (x2 - 2)2 | Σ(x2 - 2)2
0.682 | 0.666 | 0.016 | 0.000256 | 0.000402
0.655 |  | -0.011 | 0.000121
0.661 |  | -0.005 | 2.5e-05
±t = ( / Sd) * (N)1/2
Sd = ( ∑(Di - )2 / (N-1) )1/2
Excel Calculation …
x1 | x2 | Di |  | Di -  | (Di - )2 | Σ(Di - )2 | Sd | t
9 | 7.5 | 1.5 | 2.125 | -0.625 | 0.39062 | 2.535 | 0.60178 | 9.9877
18.2 | 15.5 | 2.7 |  | 0.575 | 0.33062
17.5 | 14.3 | 3.2 |  | 1.075 | 1.1556
14.2 | 12.2 | 2 |  | -0.125 | 0.015625
11 | 9 | 2 |  | -0.125 | 0.015625
10.1 | 8.5 | 1.6 |  | -0.525 | 0.27562
12.2 | 9.8 | 2.4 |  | 0.275 | 0.075625
10 | 8.4 | 1.6 |  | -0.525 | 0.27562
Q = (Xdoubt - Xclose) / (Xmax - Xmin)
Excel Calculation …
| x | xmax | xmin | xdoubt | a | w | Q
| 1.0563 | 1.0563 | 1.0519 | 1.0519 | 0.0016 | 0.0044 | 0.36364
1.054
1.0535
1.0519
Cells Declaration
| cell A32 | represent the x11 value
| cell A33 | represent the x21 value
| cell A34 | represent the x31 value
| cell A35 | represent the x41 value
| cell A36 | represent the x51 value
| cell A37 | represent the x61 value
| cell A40 | represent the x12 value
| cell A41 | represent the x22 value
| cell A42 | represent the x32 value
| cell A43 | represent the x42 value
| cell A44 | represent the x52 value
| cell A45 | represent the x62 value
| cell A46 | represent the x72 value
| cell B32 | represent the average of x1 values
| cell B40 | represent the average of x2 values
| cell C32 | represent the (x11 - average)
| cell C33 | represent the (x21 - average)
| cell C34 | represent the (x31 - average)
| cell C35 | represent the (x41 - average)
| cell C36 | represent the (x51 - average)
| cell C37 | represent the (x61 - average)
| cell C40 | represent the (x12 - average)
| cell C41 | represent the (x22 - average)
| cell C42 | represent the (x32 - average)
| cell C43 | represent the (x42 - average)
| cell C44 | represent the (x52 - average)
| cell C45 | represent the (x62 - average)
| cell C46 | represent the (x72 - average)
| cell D32 | represent the (x11 - average)2
| cell D33 | represent the (x21 - average)2
| cell D34 | represent the (x31 - average)2
| cell D35 | represent the (x41 - average)2
| cell D36 | represent the (x51 - average)2
| cell D37 | represent the (x61 - average)2
| cell D40 | represent the (x12 - average)2
| cell D41 | represent the (x22 - average)2
| cell D42 | represent the (x32 - average)2
| cell D43 | represent the (x42 - average)2
| cell D44 | represent the (x52 - average)2
| cell D45 | represent the (x62 - average)2
| cell D46 | represent the (x72 - average)2
| cell E32 | represent the summation (x1 - average)2
| cell E40 | represent the summation (x2 - average)2
| cell F32 | represent the summation (x1 - average)2 / N-1
| cell F40 | represent the summation (x2 - average)2 / N-1
| cell G32 | represent the s1 value
| cell G40 | represent the s2 value
| cell H32 | represent the s12 value
| cell H40 | represent the s22 value
| cell I38 | represent the value of F-test
| cell A70 | represent the value of x1
| cell A71 | represent the value of x2
| cell A72 | represent the value of x3
| cell A73 | represent the value of x4
| cell B70 | represent the average of x values
| cell C70 | represent the value of (x1 - average)2
| cell C71 | represent the value of (x2 - average)2
| cell C72 | represent the value of (x3 - average)2
| cell C73 | represent the value of (x4 - average)2
| cell D70 | represent the summation of (x - average values)2
| cell E70 | represent the standard deviation
| cell F70 | represent the average - true value
| cell G70 | represent the SQR of N / standard deviation
| cell H70 | represent the value of the student t-test
| cell A101 | represent the x11 value
| cell A102 | represent the x21 value
| cell A103 | represent the x31 value
| cell A104 | represent the x41 value
| cell A107 | represent the x12 value
| cell A108 | represent the x22 value
| cell A109 | represent the x32 value
| cell B101 | represent the average of x1 values
| cell B107 | represent the average of x2 values
| cell C101 | represent the (x11 - average)
| cell C102 | represent the (x21 - average)
| cell C103 | represent the (x31 - average)
| cell C104 | represent the (x41 - average)
| cell C107 | represent the (x12 - average)
| cell C108 | represent the (x22 - average)
| cell C109 | represent the (x32 - average)
| cell D101 | represent the (x11 - average)2
| cell D102 | represent the (x21 - average)2
| cell D103 | represent the (x31 - average)2
| cell D104 | represent the (x41 - average)2
| cell D107 | represent the (x12 - average)2
| cell D108 | represent the (x22 - average)2
| cell D109 | represent the (x32 - average)2
| cell E101 | represent the summation (x1 - average)2
| cell E107 | represent the summation (x2 - average)2
| cell F104 | represent the pooled standard deviation
| cell G104 | represent the SQR of (N1N2 * (N1+N2))
| cell I104 | represent the value of paired t-test
| cell A134 | represent the x11 value
| cell A135 | represent the x21 value
| cell A136 | represent the x31 value
| cell A137 | represent the x41 value
| cell A138 | represent the x51 value
| cell A139 | represent the x61 value
| cell A140 | represent the x71 value
| cell A141 | represent the x81 value
| cell B134 | represent the x12 value
| cell B135 | represent the x22 value
| cell B136 | represent the x32 value
| cell B137 | represent the x42 value
| cell B138 | represent the x52 value
| cell B139 | represent the x62 value
| cell B140 | represent the x72 value
| cell B141 | represent the x82 value
| cell C134 | represent the x11 - x12
| cell C135 | represent the x21 - x22
| cell C136 | represent the x31 - x32
| cell C137 | represent the x41 - x42
| cell C138 | represent the x51 - x52
| cell C139 | represent the x61 - x62
| cell C140 | represent the x71 - x72
| cell C141 | represent the x81 - x82
| cell D134 | represent the average of x1 - x2 value
| cell E134 | represent the D1 - average
| cell E135 | represent the D2 - average
| cell E136 | represent the D3 - average
| cell E137 | represent the D4 - average
| cell E138 | represent the D5 - average
| cell E139 | represent the D6 - average
| cell E140 | represent the D7 - average
| cell E141 | represent the D8 - average
| cell F134 | represent the (D1 - average)2
| cell F135 | represent the (D2 - average)2
| cell F136 | represent the (D3 - average)2
| cell F137 | represent the (D4 - average)2
| cell F138 | represent the (D5 - average)2
| cell F139 | represent the (D6 - average)2
| cell F140 | represent the (D7 - average)2
| cell F141 | represent the (D8 - average)2
| cell G134 | represent the summation of (D - average values)2
| cell H134 | represent the standard deviation
| cell I134 | represent the value of t-test with multiple samples
| cell B161 | represent the x1 value
| cell B162 | represent the x2 value
| cell B163 | represent the x3 value
| cell B164 | represent the x4 value
| cell C161 | represent the maximum value of x
| cell D161 | represent the minimum value of x
| cell E161 | represent the doubt x value
| cell F161 | represent the xdoubt - xmostclose
| cell G161 | represent the xmax - xmin
| cell H161 | represent the value of Q-test
Statistical Calculations in Analytical Chemistry
Standard tests for analytical methods
The F-test method
Example: Make the F-test for the following two methods:
method (1): (10.9, 10.1, 10.6, 11.2, 9.70, 10.0) .
method (2): (9.20, 10.5, 9.70, 11.5, 9.30, 10.1, 11.2) .
The student t-test
Example: Make the student t-test for the following methods:
0.1034, 0.1038, 0.1032, 0.1030, knowing that the
true value = 0.1024 .
Paired t-test
Example: Make the paired t-test for the following two methods:
Test (1): 0.826, 0.810, 0.880, 0.865, (N=4) .
Test (2): 0.682, 0.655, 0.661, (N=3) .
t-test with multiple samples
Example: Make the t-test with multiple samples for the following two methods:
Method (1): 9.0, 18.2, 17.5, 14.2, 11.0, 10.1, 12.2, 10.0 .
Method (2): 7.5, 15.5, 14.3, 12.2, 9.0, 8.5, 9.8, 8.4 .
The Q-test
Example: Make the Q-test for the following method:
test values: 1.0563, 1.0540, 1.0535, 1.0519 .