## Slide 1: Chapter 2
Programmable Logic Controller (PLC) and Relay Ladder Logic (RLL).

## Slide 2
2.1 PLC Operation using scanning technique
Analog
Input
Analog
Ouput
Networking module
Modem
Fig. 2.1 Internal structure of a PLC.
Fig. 2.3 Scanning technique in PLC.

## Slide 3
2.1 PLC Operation using scanning technique
Two modes of operations:
Programming mode.
Automatic or running mode(scanning mode)
Fig. 2.16 PLC Programming technique using PC computer through serial port.

## Slide 4
2.2 Understanding Relay Ladder Diagram (RLL)
Fig. 2.5 Simple control circuit of a bell
Power circuit
Control circuit
Fig. 2.6 A typical industrial relay.
Relay Coil
Switch
Relay Ladder Development

## Slide 5
2.2 Understanding Relay Ladder Diagram (RLL)
+ -
Relay Coil
Switch
Relay Ladder Development
Fig. 2.7 Contact relay symbol (RLL).
Fig. 2.8 Output relay symbol (RLL).
Fig. 2.9 RLL for bell control circuit.
Main input instructions
Normally open contact :
Normally closed contact :
Main output instructions
  Normally open relay
  Normally closed relay

## Slide 6
2.3 Basic Instructions of RLL
Some simple illustrated RLL circuit
Fig.2.11 Control and RLL for AND Boolean operation.
Fig. 2.12 Amended RLL using Normally closed switch for switch SW2.
The Boolean logic equation will be : Coil = SW1 . SW2

## Slide 7
2.4 Motor control RLL network, two push buttons and motor starter
  Here two push buttons switches (Start/Stop) are used to switch the motor on/off. These switches are connected to the two PLC inputs discrete type), as shown in Fig. 2.13.
  One of the output ports (discrete outputs) of the PLC used to switch motor starter on/off, which will start/stop the electric motor.
Fig. 2.13 Motor control using PLC, motor starter and two push bottoms.
Motor starter
Two bush bottom switches
Motor
Input
Output
PLC

## Slide 8
2.4 Motor control RLL network, two push buttons and motor starter
Motor starter
Two bush bottom switches
Motor
Input
Output
PLC
Switch “S1” and “S2”
S1
Q1.1
Relay Coil “R1”
Current flow (Scan 1)
S1
Q1.1
Q1.1
Current flow (Scan 1)
Current flow (Scan 2)
S1
Q1.1
Q1.1
Current flow (Scan 2)
Latch conditions
1
2
3

## Slide 9
2.4 Motor control RLL network, two push buttons and motor starter
Motor starter
Two bush bottom switches
Motor
Input
Output
PLC
Relay Coil “R1”
S1
Q1.1
Q1.1
S2
Switch “S1” and “S2”
S1
Q1.1
Q1.1
S2
S1
Q1.1
Q1.1
S2
S1
Q1.1
Q1.1
S2
3
4
5
6

## Slide 10
2.5 Motor control RLL network, two push buttons and motor starter
Adding Two Indicators Green (G) and Red (R)
Fig. 2.15 Amended RLL for motor control after adding two indicators.
Input
Motor starter
Two indicators
Output
Two push bottom switches
S1
R1
R1
S2
R1
Q1.1
R1
R
G

## Slide 11
2.5 Motor control RLL network, two push buttons and motor starter
Adding Two Indicators Green (G) and Red (R)
Fig. 2.15 Amended RLL for motor control after adding two indicators.
Input
Motor starter
Two indicators
Output
Two push bottom switches
S1
R1
R1
S2
R1
Q1.1
R1
R
G
Green indictor
Reed indictor
Relay coil
Memory Unit

## Slide 12
2.5 Motor control RLL network, two push buttons and motor starter
Adding Two Indicators Green (G) and Red (R) + Overload Switch (OV)
Fig. 2.15 Amended RLL for motor control after adding two indicators.
Input
Motor starter
Two indicators
Output
Two push bottom switches
S1
R1
R1
S2
R1
Q1.1
R1
R
G
Green indictor
Reed indictor
Relay coil
Memory Unit
OL

## Slide 13
2.5 Setting and resetting memory elements using ADD and OR gates
Memory Unit
AND Gate for setting
S1
R1
R1
S3
S2
S1
R1
R1
S3
S2
Memory Unit
OR Gate for setting

## Slide 14
2.5 Setting and resetting memory elements using ADD and OR gates
Memory Unit
OR Gate for Resetting
Memory Unit
AND Gate for Resetting
S1
R1
R1
S2
S3
S1
R1
R1
S2
S3

## Slide 15
2.5 PLC Programming and Networks

## Slide 16
2.5 PLC Programming and Networks

## Slide 17
2.5 PLC Programming and Networks