## Slide 1: Quantitative Determenation of Aspartate aminotransferase (AST)
CLS 431

## Slide 2: Determenation of Aspartate aminotransferase (AST)
Principle of the method :
Aspartate + 2-oxoglutrate AST Glutamate + Oxalacetate
Oxalacetate + NADH +H+ MDH Malate + NAD+

## Slide 3: Distribution:
The AST found in highest conc. in heart muscle, liver and skeletal muscle.
Smaller amounts are found in kideny, pancreas and erythrocytes.
Clinical significance
myocardial infarction, hepatocellular disease, and disorders of skeletal museles.

## Slide 4
Samples: serum or plasma
Procedure
Assay conditions:
Wavelength ......................... 340nm.
Cuvette ................................ 1cm. light path
constant tempreture .................. 37℃
Adjust the instrument to zero with distilled water or air.

## Slide 5: Pipette into a cuvette:
WR (ml) | 1.0
Pre-warm to 37℃, then add: | 
Sample (µL) | 100
Mix, incubate at 37℃ for 1 minute.
Read initial absorbance of the sample, start the the stopwach and read absorbances at 1 minute intervals thereafter for 2 minutes.
Calculate the difference between absorbances and the average absorbance differences per minute ( ΔA/min)

## Slide 6: Calculations ΔA/min x 1768= U/L of AST
Reference values:
AST:
Men up to 37 U/L
Women up to 31 U/L