[BCH 322]

Method of Enzyme Assay

1- Discontinuous assay (colorimetric assay)

Type of cuvette used --------------------

Method

Prepare each tube as follows:

|  | BLANK | SAMPLE |
| --- | --- | --- |
| ALT Reagent | 0.5 ml | 0.5 ml |
| Pre-warm at 37 C for 5 minutes and add: |  |  |
| Distilled Water | 0.1 ml | - |
| Serum Sample | - | 0.1 ml |
| Mix, and incubate at 37 C for exactly 30 minutes, and add: |  |  |
| Color Reagent (DNPH) | 0.5 ml | 0.5 ml |
| Mix, and return at 37 C for exactly 10 minutes, then add: |  |  |
| Color Developer (NaOH) | 5.0 ml | 5.0 ml |
| Mix, and return to 37 C for exactly 5 minutes. Read absorbance of all tubes at 546nm against blank. |  |  |

Result

Absorbance at 546 nm = ………

ALT (SGPT) activity of serum sample (from graph)= …………U/L

2- Continuous assay (UV/ kinetics)

Method

Type of cuvette used --------------------

Prepare the following:

| ALT Reagent | 3 ml |
| --- | --- |
| Pre-warm at 37°C for 3 minutes and add |  |
| Serum Sample | 0.2 ml |
| Mix and incubated at 37 °C for 1 minute, then read absorbance (at 340 nm against distilled water) every minute for 3 minutes) and determine ∆A/min |  |

Choose the following on the spectrophotometer:

2) Applications  2) Simple Kinetics  wave length (340 nm)  1) Seconds  Duration (180 sec = 3 min)  Intervals (60 sec= 1 min)  Print Data Table (off)  Press start (2 times)

Result

| Time | Absorbance 340nm |  | ΔA/min=((A1-A2)+(A2-A3))/2 |
| --- | --- | --- | --- |
| 1 min | A1 |  |  |
| 2 min | A2 |  |  |
| 3 min | A3 |  |  |

Calculation

ALT Activity ( U/L) = ΔA/min x 1768

ALT Activity = ……………..U/L