BCH 302 practical

Lab Sheet #3

Proteins-II

1-Set up 7 tubes as follows:

| Tube | Water | Casein Standard Concentration [100mg/dl] | Milk sample [unknown casein concentration] |
| --- | --- | --- | --- |
| Blank | 1 ml | - | - |
| A | 0.8 ml | 0.2 ml | - |
| B | 0.6 ml | 0.4 ml | - |
| C | 0.4 ml | 0.6 lm | - |
| D | 0.2 ml | 0.8 ml | - |
| E | - | 1.0 ml | - |
| F | - | - | 1.0 ml |

2-Add 3 ml of Reagent C to all tubes. Mix and let the tubes stand at room temperature for 15 min.

3- Add 0.3 ml of Folin-Ciocalteu reagent.

Note: (Add this reagent to one tube at a time and  immediately after adding it mix well).

4- Let the tubes stand at room temperature for 45 min.

5- Read absorbance at 660 nm against the blank.

-Results:

| Tube | Casein std. concentration (mg/dl) [X- axis] | Absorbance at 660nm [Y-axis] |
| --- | --- | --- |
| A | 20 |  |
| B | 40 |  |
| C | 60 |  |
| D | 80 |  |
| E | 100 |  |
| F | ?.................... |  |

6-Plot a standard curve for absorbance at 660 nm against casein std. concentration (mg/dl).

7- From the standard curve find out  the unknown concentration of Casein in milk sample.