Lab sheet #8

Name:………………………………………………………………………………  ID: ………………………………………………………………………………

Material and Method:

Material:

You are provided by:

- Standard solution (Stock solution) of Copper Sulfate  with  0.1 M [known concentration].

- Solution with Unknown concentration "A".

- Solution with Unknown concentration "B".

Method:

- Set up 8 test tubes, as following table:

| Tube | 0.1 M Copper Sulfate Standard Solution. | d. H2O | Solutions with unknown conc. |
| --- | --- | --- | --- |
| Blank | - | 10 ml | - |
| A | 2ml | 8ml | - |
| B | 4ml | 6ml | - |
| C | 6ml | 4ml | - |
| D | 8ml | 2ml | - |
| E | 10ml | - | - |
| Solution "A" | - | - | 10 ml |
| Solution "B" | - | - | 10 ml |

- Mix the  contents using the vortex.

- measure the absorbance of each tube at  600 nm against the blank[………………..….].

- record the result in the table "next page":

| Tube | Absorbance at 600nm | Concentration M |
| --- | --- | --- |
| A |  |  |
| B |  |  |
| C |  |  |
| D |  |  |
| E |  |  |
| Solution "A" |  | From the curve= |
| Solution "B" |  | From the curve= |

- Calculate the concentrations of the series of known standard solutions.

- Draw the standard curve.

- determine the concentration of Solution "A" and "B".