## Slide 1: EE 201 Week 2 – Part 1

## Slide 2: Content
Circuit introduction
  Nodes
  Loops
Ch 5 - Series circuit
  Total resistance
  Power in a series circuit
  Combining voltage sources
  KVL
  Voltage division
  Notation and voltage difference
  Examples
Ch 6 – Parallel circuit
  Parallel elements
  Total conductance and resistance
  Parallel networks
  KCL
  Current divider rule
  Voltage sources in parallel
  Open and short circuits

## Slide 3: Circuit
A circuit contains various circuit elements, connected by wires
The connections form nodes and loops
The points connected by wires (nodes) have the same voltage
Elements in series have the same current
A broken path (open circuit) has no current.
http://tuttle.merc.iastate.edu/ee201/topics/fundamentals/kirchoff.pdf

## Slide 4: Nodes and Loops
http://tuttle.merc.iastate.edu/ee201/topics/fundamentals/kirchoff.pdf
Voltage on is ?

## Slide 5: Series Circuit
Two elements are in series if:
1- They have only one node (terminal) in common
2- The common point between them is not connected to another current carrying element.
Series elements have the same current

## Slide 6: Total resistance

## Slide 7: Total resistance

## Slide 8: Calculate current and voltages
Notice:

## Slide 9: Calculate current and voltages

## Slide 10: Calculate current and voltages
Calculate the following:
  Resistance between and

## Slide 11: Calculate the power

## Slide 12: Calculate the power - Example

## Slide 13: Power sources in series
Voltage sources can be connected to increase or decrease the voltage
Some the voltage that have the same polarity and subtract from the other
Watch the current
  Assume current direction
  Current out of positive terminal for is positive
  Current out of negative terminal for is negative
  Total voltage =
  Polarity of is the same as the polarity of the larger
  If
  If

## Slide 14: Power sources in series

## Slide 15: Kirchhoff’s voltage law

## Slide 16: Examples
Calculate
Calculate

## Slide 17: Examples
Calculate and ?

## Slide 18: Voltage divider rule
Find the voltage on and
The voltage is divided between resistors which are connected in series in direct proportion to their resistance

## Slide 19: Voltage divider rule

## Slide 20: Notations and grounding
Electrical and electronic systems are grounded for reference and safety purposes.

## Slide 21: Double-subscript notation

## Slide 22: Single-subscript notation
The notation is the voltage between node and the ground
=

## Slide 23: Exercise

## Slide 24: Exercise

## Slide 25: Exercise

## Slide 26: Parallel Circuit
Two elements, branches, or networks are in parallel if they have two points/nodes/terminal in common.

## Slide 27: Conductance
Conductance is the degree to which an object conducts electricity

## Slide 28: Adding parallel resistance

## Slide 29: Adding parallel resistance

## Slide 30: Example

## Slide 31: Example

## Slide 32: Reference
http://tuttle.merc.iastate.edu/ee201/topics.htm