## Sheet1
X1 | X2 | X3 | sum | dif | mult | div | squared | square root | Avg
1.234 | 2.445 | 3.657

## Sheet2
R2: regression factor
LOL: limit of linearity
Conc. (ppm) | Absorbance
10 | 0.087
20 | 0.154
30 | 0.202
40 | 0.283
50 | 0.353
60 | 0.435
70 | 0.499
80 | 0.563
90 | 0.616
100 | 0.635
Flow (mL/min) | ΔP of ACN | ΔP of H2O
0.05 | 103 | 212
0.1 | 168 | 388
0.15 | 236 | 537
0.2 | 303 | 695
0.25 | 371 | 859
0.3 | 438 | 1032
0.35 | 517 | 1195
0.4 | 585 | 1359
0.45 | 652 | 1514
0.5 | 724 | 1692
0.6 | 862 | 1995
0.7 | 983 | 2348

## Sheet3
Conc. (ppm) | A1 | A2 | A3 | Average | SD | RSD
10 | 0.087 | 0.083 | 0.094
20 | 0.154 | 0.159 | 0.148
30 | 0.202 | 0.253 | 0.212
40 | 0.283 | 0.276 | 0.29
50 | 0.353 | 0.346 | 0.355
60 | 0.435 | 0.442 | 0.449
70 | 0.499 | 0.513 | 0.506
80 | 0.563 | 0.572 | 0.568
90 | 0.616 | 0.613 | 0.626
100 | 0.635 | 0.642 | 0.645
s = ( Σ(xi - )2 / (N-1) )1/2
s, mean = s / (N)1/2
%RSD, mean = (s,mean / ) *100%
%RSD = (s / ) * 100%
x |  | x -  | (x - )2 | Σ (x - )2 | Σ(x-)2/N-1 | S | S, mean | %RSD, mean | %RSD
104.2 | 104.1 | 0.1 | 0.01 | 1.54 | 0.51333 | 0.71647 | 0.35824 | 0.34413 | 0.68825 | 0.71647
104.8 |  | 0.7 | 0.49
103.1 |  | -1 | 1
104.3 |  | 0.2 | 0.04
Mathmatical calculation
 = (104.2+104.8+103.1+104.3)/4 = 104.1
Σ (x - )2 = 1.54
s = 1.54 / (4-1) = 0.716
s,mean = 0.716 / (4)1/2 = 0.358
%RSD, mean = 0.358/104.1 *100 = 0.344
%RSD = 0.716/104.1 *100 = 0.688

## Sheet4
Error bar
| Day | ΔP of ACN | Error
| 1 | 438 | 10
| 2 | 431 | 22
| 3 | 430 | 14
| 4 | 439 | 9
| 5 | 435 | 12
| 6 | 424 | 10
| 7 | 434 | 8
| 8 | 439 | 11

## Sheet5
Flow rate (mL/min) | N/150mm
0.1 | 43013
0.15 | 53074
0.2 | 73257
0.25 | 84311
0.3 | 95600
0.35 | 93292
0.4 | 85028
0.45 | 63365
0.5 | 54105
0.6 | 34105
0.7 | 24105

## Sheet6
The Confidence Limit
Values of t for ν Degrees of Freedom for Various Confidence Levels
|  | Confidence Level |  | A soda ash sample is analyzed in the analytical chemistry laboratory by titration
| 90% | 95% | 99% | with standard hydrochloric acid. The analysis is performed in triplicate with the
1 | 6.314 | 12.706 | 63.657 | following results: 93.50, 93.58, and 93.43 wt% Na2CO3. Within what range are you
2 | 2.92 | 4.303 | 9.925 | 95% confident that the true value lies?
3 | 2.353 | 3.182 | 5.841
4 | 2.132 | 2.776 | 4.604
5 | 2.015 | 2.571 | 4.032 | x1 | x2 | x3
6 | 1.943 | 2.447 | 3.707 | 93.5 | 93.58 | 93.43 | 93.5033 | 0.075056 | 0.18646
7 | 1.895 | 2.365 | 3.5
8 | 1.86 | 2.306 | 3.355
9 | 1.833 | 2.262 | 3.25
10 | 1.812 | 2.228 | 3.169
15 | 1.753 | 2.131 | 2.947
20 | 1.725 | 2.086 | 2.845
25 | 1.708 | 2.06 | 2.787
v = N − 1 = degrees of freedom.
Values of t for ν Degrees of Freedom for Various Confidence Levels

## Sheet10
F-test
x1 | x2 | x1 | 1 | x1 - 1 | (x1 - 1)2 | Σ(x1 - 1)2 | s12 | x2 | 2 | x2 - 2 | (x2 - 2)2 | Σ(x2 - 2)2 | s22 | F-test (s22 / s12)
10.9 | 9.2 | 10.9 | 10.4167 | 0.48333 | 0.23361 | 1.6683 | 0.33367 | 9.2 | 10.2143 | -1.0143 | 1.0288 | 4.8486 | 0.8081 | 2.4219
10.1 | 10.5 | 10.1 |  | -0.31667 | 0.10028 |  |  | 10.5 |  | 0.28571 | 0.081633 |  |  |  | 127 | 130
10.6 | 9.7 | 10.6 |  | 0.18333 | 0.033611 |  |  | 9.7 |  | -0.51429 | 0.26449 |  |  |  | 125 | 128
11.2 | 11.5 | 11.2 |  | 0.78333 | 0.61361 |  |  | 11.5 |  | 1.2857 | 1.6531 |  |  |  | 123 | 131
9.7 | 9.3 | 9.7 |  | -0.71667 | 0.51361 |  |  | 9.3 |  | -0.91429 | 0.83592 |  |  |  | 130 | 129
10 | 10.1 | 10 |  | -0.41667 | 0.17361 |  |  | 10.1 |  | -0.11429 | 0.013061 |  |  |  | 131 | 127
| 11.2 | [6 empty] | 11.2 |  | 0.98571 | 0.97163 |  |  |  | 126 | 125
129
Mathmatical calculation
1 = (10.9+10.1+10.6+11.2+9.7+10)/6 = 10.42
| 2 = (9.2+10.5+9.7+11.5+9.3+10.1+11.2)/7 = 10.21 | [5 empty] | The tabulated F value for v1 = 5 and v2 = 6 is 4.39 | [5 empty] | Values of F at the 95% Confidence Level
| Σ(x1 - 1)2 = 1.668 | [11 empty] | N -1
Σ(x2 - 2)2 = 4.85
| s12 = 0.334 | [5 empty] | Since the calculated value of 2.42 is less than this, we conclude
| s22 = 0.808 | [5 empty] | that there is no significant difference in the precision of the two methods, that is, the
| F = 0.808 / 0.334 = 2.422 | [5 empty] | standard deviations are from random error alone and do not depend on the sample.
F-test = s22 / s12
Values of F at the 95% Confidence Level

## Sheet7
Student's t-test
t-Test When a Reference Value Is Known.
μ is the true value
You are developing a procedure for determining traces of copper in biological
materials using a wet digestion followed by measurement by atomic absorption
spectrophotometry. In order to test the validity of the method, you obtain a certified
reference material and analyze this material. Five replicas are sampled and analyzed,
and the mean of the results is found to be 10.8 ppm with a standard deviation
of ±0.7 ppm. The listed reference value is 11.7 ppm. Does your method give a
statistically correct value relative to the certified value at the 95% confidence level?
| tcalc | ttable
Paired t-Test.
You are developing a new analytical method for the determination of blood urea
nitrogen (BUN). You want to ascertain whether your method differs significantly from a
standard method for determining a range of sample concentrations expected to be found
in the routine laboratory. It has been ascertained that the two methods have comparable
precision. Following are two sets of results for a number of individual samples:
| your method | standard method
| 10.2 | 10.5
| 12.7 | 11.9
| 8.6 | 8.7
| 17.5 | 16.9
| 11.2 | 10.9
| 11.5 | 11.1
Di is the individual difference between the two methods for each sample, with
regard to sign; and D is the mean of all the individual differences.

## Sheet8
Gain in weight (g) of rats on high/low protein diets
Weight by Diet |  | Weight by Diet | n | Mean | SD
High protein | Low protein | High protein | 12 | 120 | 21.3882
134 | 70 | Low protein | 7 | 101 | 20.6236
146 | 118
104 | 101
119 | 85 | F statistic
124 | 107 | t statistic
161 | 132
107 | 94
83
113
129
97
123

## Sheet9
| mass of analyte | peak area | peak height
p-xylene | 0.1 | 95962 | 1845
| 0.2 | 188042 | 3879
| 0.5 | 445122 | 9424
| 1 | 906342 | 20850
| 2 | 1747972 | 42700
| 3 | 2638142 | 63800
| 5 | 4338142 | 105800
m-xylene | 0.1 | 83022 | 1580
| 0.2 | 161742 | 2551
| 0.5 | 409373 | 7484
| 1 | 820734 | 16845
| 2 | 1584945 | 35153
| 3 | 2351283 | 54085
| 5 | 3951283 | 91085
o-xylene | 0.1 | 61614 | 1156
| 0.2 | 138495 | 2509
| 0.5 | 341226 | 7406
| 1 | 701067 | 18496
| 2 | 1638988 | 39936
| 3 | 2500159 | 60317
| 5 | 4200159 | 102317